L2Crate Power Supply Box Interface Definition

| Author | Laboratory |  | Approved by | Laboratory |
| --- | --- | --- | --- | --- |
| Karl-Heinz Sulanke DESY |  |  |  |  |

| List of Abbreviations |  |  |  |
| --- | --- | --- | --- |
| PSB | Power Supply Box |  |  |

| History |  |  |
| --- | --- | --- |
| Version | Date | Observation |
| 01 | 21/10/2020 | Draft |

| Distribution |  |
| --- | --- |

Table of Contents

1	Introduction	4

2	Mechanics	4

2.1	Auxiliary Power Supply, PULS CS5.C241-C1, Back Plate Mounting	5

5

2.2	24V Power Connectors, Back Plate, Sketch	6

3	Connectors, Types and Usage	7

3.1	L2Crate Internal Power Cabling	7

4	Auxiliary Power Supply PULS CS5.C241-C1, Data	8

# Introduction

This document describes mechanical and electrical interface between the L2Crate and the PSB.

# Mechanics

The L2Crate is a 6U standard 19” rack.

The connections to the PSB are accommodated at the back side.

GND Connectors

+24V Connectors

240VAC

## Auxiliary Power Supply, PULS CS5.C241-C1, Back Plate Mounting

## 24V Power Connectors, Back Plate, Sketch

# Connectors, Types and Usage

| description | manufacturer | ID | remark |
| --- | --- | --- | --- |
| power entry, receptable, 200A, black | AMPHENOL INDUSTRIAL | SLPRBTPSB | 4x, 200A, crate socket, GND |
| power entry, receptable, 200A, red | AMPHENOL INDUSTRIAL | SLPRBTPSR | 4x, 200A, crate socket, +24V |
| power entry, plug, 200A, black | AMPHENOL INDUSTRIAL | SLPPB50BSB | 4x, 200A, cable plug, GND |
| power entry, plug, 200A, red | AMPHENOL INDUSTRIAL | SLPPB50BSR | 24x, 00A, cable plug, GND |
| 240VAC power connector | Hirschmann | 930822106 | auxiliary power supply CS5.241-C1 |
| 240VAC power connector lock | Hirschmann | 732 044000 |  |

## L2Crate Internal Power Cabling

Cable used: 35mm2 copper, H01N2-D1x35, Lapp Group

# Auxiliary Power Supply PULS CS5.C241-C1, Data