## succesfull
N | RUNNING_NUM | TEST_FW_VER | FW_VER | HW_REV | UNIQ_D | GENERAL_TEST | ADC_NOISE_SIGMA, LSB | NOISE AVERAGE (LSB) | ADC OFFSET ERR (V) | WR_PR / COMM TEST | DATE | TESTER | REPAIR | COMMENT | delevered to |  | Shipmet | CNT
1 | 110 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-08-b0-0c-29-00-00-31 | 1 | 1.34 |  |  | opt.-trans. Only | 15/10/2020 | mihail.vasilev@desy.de |  |  | Chiba University | 1
2 | 111 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-e3-b0-0c-29-00-00-e0 | 1 | 1.33 |  |  | opt.-trans. Only | 15/10/2020 | mihail.vasilev@desy.de |  |  | Chiba University | 1
3 | 112 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-d2-b0-0c-29-00-00-3a | 1 | 1.38 |  |  | opt.-trans. Only | 15/10/2020 | mihail.vasilev@desy.de |  |  | Chiba University | 1 | 20 October 2020. 50 ICMs = | 50
4 | 113 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-cc-96-08-29-00-00-18 | 1 | 1.29 |  |  | opt.-trans. Only | 15/10/2020 | mihail.vasilev@desy.de |  |  | Chiba University | 1 | 5 November 2020. 50 ICMs = | 50
5 | 114 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-7d-ae-0c-29-00-00-9c | 1 | 1.44 |  |  | opt.-trans. Only | 15/10/2020 | mihail.vasilev@desy.de |  |  | Chiba University | 1 | 10 November 2020. 100 ICMs = | 100
6 | 115 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-b1-a6-08-29-00-00-4e | 1 | 1.36 |  |  | opt.-trans. Only | 15/10/2020 | mihail.vasilev@desy.de |  |  | Chiba University | 1
7 | 116 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-71-ae-0c-29-00-00-e1 | 1 | 1.33 |  |  | opt.-trans. Only | 15/10/2020 | mihail.vasilev@desy.de |  |  | Chiba University | 1
8 | 117 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-82-ae-0c-29-00-00-ca | 1 | 1.3 |  |  | opt.-trans. Only | 15/10/2020 | mihail.vasilev@desy.de |  |  | Chiba University | 1
9 | 118 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-17-a7-08-29-00-00-6d | 1 | 1.42 |  |  | opt.-trans. Only | 15/10/2020 | mihail.vasilev@desy.de |  |  | Chiba University | 1
10 | 119 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-d5-b0-0c-29-00-00-bf | 1 | 1.34 |  |  | opt.-trans. Only | 15/10/2020 | mihail.vasilev@desy.de |  |  | Chiba University | 1
11 | 120 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-bc-17-17-0f-00-00-61 | 1 | 1.29 |  |  | opt.-trans. Only | 15/10/2020 | mihail.vasilev@desy.de | V8 is rotated (Repaired at the workplace not so accurate soldering) |  |  | 0
12 | 121 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-4d-d8-17-0f-00-00-69 | 1 | 1.47 |  |  | opt.-trans. Only | 16/10/2020 | mihail.vasilev@desy.de | V8 is rotated by electronics workshop |  | Chiba University | 1
13 | 122 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-e0-88-18-0f-00-00-70 | 1 | 1.29 |  |  | opt.-trans. Only | 16/10/2020 | mihail.vasilev@desy.de | V8 is rotated by electronics workshop |  | Chiba University | 1
14 | 123 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-47-67-17-0f-00-00-86 | 1 | 1.33 |  |  | 1 | 16/10/2020 | mihail.vasilev@desy.de | V8 is rotated by electronics workshop |  | Chiba University | 1
15 | 124 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-63-0e-17-0f-00-00-0e | 1 | 1.26 |  |  | opt.-trans. Only | 16/10/2020 | mihail.vasilev@desy.de | V8 is rotated by electronics workshop |  | Chiba University | 1
16 | 125 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-90-d6-17-0f-00-00-45 | 1 | 1.37 |  |  | opt.-trans. Only | 16/10/2020 | mihail.vasilev@desy.de | V8 is rotated by electronics workshop |  | Chiba University | 1
17 | 126 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-84-0c-17-0f-00-00-21 | 1 | 1.38 |  |  | opt.-trans. Only | 16/10/2020 | mihail.vasilev@desy.de | V8 is rotated by electronics workshop |  | Chiba University | 1
18 | 127 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-0a-33-17-0f-00-00-33 | 1 | 1.41 |  |  | opt.-trans. Only | 16/10/2020 | mihail.vasilev@desy.de | V8 is rotated by electronics workshop |  | Chiba University | 1
19 | 128 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-04-ae-17-0f-00-00-7b | 1 | 1.31 |  |  | opt.-trans. Only | 16/10/2020 | mihail.vasilev@desy.de | V8 is rotated by electronics workshop |  | Chiba University | 1
20 | 129 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-30-b1-17-0f-00-00-59 | 1 | 1.29 |  |  | opt.-trans. Only | 16/10/2020 | mihail.vasilev@desy.de | V8 is rotated by electronics workshop |  | Chiba University | 1
21 | 130 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-b4-13-17-0f-00-00-df | 1 | 1.27 |  |  | opt.-trans. Only | 16/10/2020 | mihail.vasilev@desy.de | V8 is rotated by electronics workshop |  | Chiba University | 1
22 | 131 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-c4-a8-18-0f-00-00-e2 | 1 | 1.26 |  |  | opt.-trans. Only | 16/10/2020 | mihail.vasilev@desy.de | V8 is rotated by electronics workshop |  | Chiba University | 1
23 | 132 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-27-14-17-0f-00-00-66 | 1 | 1.33 |  |  | opt.-trans. Only | 16/10/2020 | mihail.vasilev@desy.de | V8 is rotated by electronics workshop |  | Chiba University | 1
24 | 133 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-a7-ae-18-0f-00-00-e4 | 1 | 1.39 |  |  | opt.-trans. Only | 16/10/2020 | mihail.vasilev@desy.de | V8 is rotated by electronics workshop |  | Chiba University | 1
25 | 134 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-83-0e-17-0f-00-00-27 | 1 | 1.31 |  |  | opt.-trans. Only | 16/10/2020 | mihail.vasilev@desy.de | V8 is rotated by electronics workshop |  | Chiba University | 1
26 | 135 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-ec-a6-18-0f-00-00-57 | 1 | 1.49 |  |  | opt.-trans. Only | 16/10/2020 | mihail.vasilev@desy.de | V8 is rotated by electronics workshop |  | Chiba University | 1
27 | 136 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-a3-23-17-0f-00-00-85 | 1 | 1.38 |  |  | opt.-trans. Only | 16/10/2020 | mihail.vasilev@desy.de | V8 is rotated by electronics workshop |  | Chiba University | 1
28 | 137 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-51-31-17-0f-00-00-66 | 1 | 1.25 |  |  | opt.-trans. Only | 16/10/2020 | mihail.vasilev@desy.de | V8 is rotated by electronics workshop |  | Chiba University | 1
29 | 138 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-2c-3e-17-0f-00-00-db | 1 | 1.31 |  |  | opt.-trans. Only | 16/10/2020 | mihail.vasilev@desy.de | V8 is rotated by electronics workshop |  | Chiba University | 1
30 | 139 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-8c-0a-17-0f-00-00-1c | 1 | 1.31 |  |  | opt.-trans. Only | 16/10/2020 | mihail.vasilev@desy.de | V8 is rotated by electronics workshop |  | Chiba University | 1
31 | 140 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-39-2a-17-0f-00-00-08 | 1 | 1.41 |  |  | opt.-trans. Only | 16/10/2020 | mihail.vasilev@desy.de | V8 is rotated by electronics workshop |  | Chiba University | 1
32 | 141 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-62-ae-17-0f-00-00-0a | 1 | 1.29 |  |  | opt.-trans. Only | 16/10/2020 | mihail.vasilev@desy.de | V8 is rotated by electronics workshop |  | Chiba University | 1
33 | 142 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-93-13-17-0f-00-00-ec | 1 | 1.34 |  |  | opt.-trans. Only | 16/10/2020 | mihail.vasilev@desy.de | V8 is rotated by electronics workshop |  | Chiba University | 1
34 | 143 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-1d-0d-17-0f-00-00-cb | 1 | 1.25 |  |  | opt.-trans. Only | 16/10/2020 | mihail.vasilev@desy.de | V8 is rotated by electronics workshop |  | Chiba University | 1
35 | 144 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-ed-c9-17-0f-00-00-84 | 1 | 1.4 |  |  | opt.-trans. Only | 16/10/2020 | mihail.vasilev@desy.de | V8 is rotated by electronics workshop |  | Chiba University | 1
36 | 145 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-fb-6e-17-0f-00-00-0f | 1 | 1.41 |  |  | opt.-trans. Only | 19/10/2020 | mihail.vasilev@desy.de |  |  | Chiba University | 1
37 | 146 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-ad-99-18-0f-00-00-fe | 1 | 1.22 |  |  | opt.-trans. Only | 19/10/2020 | mihail.vasilev@desy.de |  |  | Chiba University | 1
38 | 147 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-cd-39-17-0f-00-00-94 | 1 | 1.25 |  |  | opt.-trans. Only | 19/10/2020 | mihail.vasilev@desy.de |  |  | Chiba University | 1
39 | 148 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-24-35-17-0f-00-00-0a | 1 | 1.39 |  |  | opt.-trans. Only | 19/10/2020 | mihail.vasilev@desy.de |  |  | Chiba University | 1
40 | 149 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-f0-0a-17-0f-00-00-f9 | 1 | 1.33 |  |  | opt.-trans. Only | 19/10/2020 | mihail.vasilev@desy.de |  |  | Chiba University | 1
41 | 150 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-8f-89-18-0f-00-00-5a | 1 | 1.27 |  |  | opt.-trans. Only | 19/10/2020 | mihail.vasilev@desy.de |  |  | Chiba University | 1
42 | 151 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-15-3e-17-0f-00-00-a0 | 1 | 1.31 |  |  | opt.-trans. Only | 19/10/2020 | mihail.vasilev@desy.de |  |  | Chiba University | 1
43 | 152 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-3f-b4-18-0f-00-00-35 | 1 | 1.29 |  |  | opt.-trans. Only | 19/10/2020 | mihail.vasilev@desy.de |  |  | Chiba University | 1
44 | 153 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-0b-cd-17-0f-00-00-00 | 1 | 1.33 |  |  | opt.-trans. Only | 19/10/2020 | mihail.vasilev@desy.de |  |  | Chiba University | 1
45 | 154 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-85-3a-17-0f-00-00-0e | 1 | 1.29 |  |  | opt.-trans. Only | 19/10/2020 | mihail.vasilev@desy.de |  |  | Chiba University | 1
46 | 155 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-e1-b7-18-0f-00-00-ac | 1 | 1.39 |  |  | opt.-trans. Only | 19/10/2020 | mihail.vasilev@desy.de |  |  | Chiba University | 1
47 | 156 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-19-3c-17-0f-00-00-5e | 1 | 1.28 |  |  | opt.-trans. Only | 19/10/2020 | mihail.vasilev@desy.de |  |  | Chiba University | 1
48 | 157 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-07-ad-17-0f-00-00-6c | 1 | 1.26 |  |  | opt.-trans. Only | 19/10/2020 | mihail.vasilev@desy.de |  |  | Chiba University | 1
49 | 158 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-36-b7-18-0f-00-00-ed | 1 | 1.33 |  |  | opt.-trans. Only | 19/10/2020 | mihail.vasilev@desy.de |  |  | Chiba University | 1
50 | 159 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-66-a2-18-0f-00-00-6d | 1 | 1.34 |  |  | opt.-trans. Only | 19/10/2020 | mihail.vasilev@desy.de |  |  | Chiba University | 1
51 | 160 | rev_1 | icm_in_ice_rev21_0_0.mcs | ICM_3 | 2d-eb-a5-18-0f-00-00-9c | 1 | 1.34 |  |  | opt.-trans. Only | 19/10/2020 | mihail.vasilev@desy.de |  |  | Chiba University | 1
52 | 161 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-95-0f-17-0f-00-00-03 | 1 | 1.257 | 8204.23 | -0.0015 | 1 | 2020-11-04 | nils.rueger@desy.de / mikhail.vasilev@desy.de | V8 is rotated by electronics workshop |  | Chiba University | 1
53 | 162 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-58-3d-17-0f-00-00-d1 | 1 | 1.284 | 8196.28 | -0.0023 | 1 | 2020-11-04 | nils.rueger@desy.de / mikhail.vasilev@desy.de | V8 is rotated by electronics workshop |  | Chiba University | 1
54 | 163 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-2a-1d-17-0f-00-00-df | 1 | 1.319 | 8229.11 | 0.0017 | 1 | 2020-11-04 | nils.rueger@desy.de / mikhail.vasilev@desy.de | V8 is rotated by electronics workshop |  | Chiba University | 1
55 | 164 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-da-62-17-0f-00-00-af | 1 | 1.358 | 8216.55 | 0.0003 | 1 | 2020-11-04 | nils.rueger@desy.de / mikhail.vasilev@desy.de | V8 is rotated by electronics workshop |  | Chiba University | 1
56 | 165 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-7e-30-17-0f-00-00-39 | 1 | 1.35 | 8231.08 | 0.0019 | 1 | 2020-11-04 | nils.rueger@desy.de / mikhail.vasilev@desy.de | V8 is rotated by electronics workshop |  | Chiba University | 1
57 | 166 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-ea-17-17-0f-00-00-fd | 1 | 1.336 | 8175.42 | 0.0011 | 1 | 2020-11-04 | nils.rueger@desy.de / mikhail.vasilev@desy.de | V8 is rotated by electronics workshop |  | Chiba University | 1
58 | 167 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-47-1d-17-0f-00-00-56 | 1 | 1.24 |  |  | opt.-trans. Only | 21/10/2020 | mihail.vasilev@desy.de | V8 is rotated by electronics workshop |  |  | 0
59 | 168 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-6e-0c-17-0f-00-00-c7 | 1 | 1.325 | 8194.82 | -0.0016 | 1 | 2020-11-03 | nils.rueger@desy.de |  |  | Chiba University | 1
60 | 169 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-33-fd-02-0f-00-00-71 | 1 | 1.312 | 8201.96 | -0.0018 | 1 | 2020-11-03 | nils.rueger@desy.de |  |  | Chiba University | 1
61 | 170 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-fd-98-18-0f-00-00-1d | 1 | 1.254 | 8211.32 | -0.0006 | 1 | 2020-11-03 | nils.rueger@desy.de |  |  | Chiba University | 1
62 | 171 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-ab-c2-d3-0f-00-00-04 | 1 | 1.248 | 8209.37 | -0.0006 | 1 | 2020-11-03 | nils.rueger@desy.de |  |  | Chiba University | 1
63 | 172 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-a6-b1-0c-29-00-00-b3 | 1 | 1.429 | 8205.25 | -0.0014 | 1 | 2020-11-03 | nils.rueger@desy.de |  |  | Chiba University | 1
64 | 173 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-e5-cd-d3-0f-00-00-0d | 1 | 1.284 | 8204.11 | -0.0014 | 1 | 2020-11-03 | nils.rueger@desy.de |  |  | Chiba University | 1
65 | 174 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-f1-ae-0c-29-00-00-0b | 1 | 1.357 | 8198.8 | -0.0018 | 1 | 2020-11-03 | nils.rueger@desy.de |  |  | Chiba University | 1
66 | 175 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-4a-cc-02-0f-00-00-36 | 1 | 1.331 | 8197.94 | -0.0023 | 1 | 2020-11-03 | nils.rueger@desy.de |  |  | Chiba University | 1
67 | 176 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-8b-0a-17-0f-00-00-99 | 1 | 1.332 | 8189.15 | -0.0033 | 1 | 2020-11-03 | nils.rueger@desy.de |  |  | Chiba University | 1
68 | 177 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-73-b1-0c-29-00-00-9c | 1 | 1.234 | 8229.55 | 0.0018 | 1 | 2020-11-03 | nils.rueger@desy.de |  |  | Chiba University | 1
69 | 178 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-06-c2-d3-0f-00-00-12 | 1 | 1.23 | 8197.95 | -0.0022 | 1 | 2020-11-03 | nils.rueger@desy.de |  |  | Chiba University | 1
70 | 179 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-46-9e-18-0f-00-00-7e | 1 | 1.366 | 8185.06 | -0.0036 | 1 | 2020-11-03 | nils.rueger@desy.de |  |  | Chiba University | 1
71 | 180 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-b8-84-15-0f-00-00-43 | 1 | 1.311 | 8197.3 | -0.0019 | 1 | 2020-11-04 | nils.rueger@desy.de |  |  | Chiba University | 1
72 | 181 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-91-9f-18-0f-00-00-f2 | 1 | 1.351 | 8234.04 | 0.0024 | 1 | 2020-11-04 | nils.rueger@desy.de |  |  | Chiba University | 1
73 | 182 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-52-2e-17-0f-00-00-2c | 1 | 1.313 | 8199.42 | -0.0018 | 1 | 2020-11-04 | nils.rueger@desy.de |  |  | Chiba University | 1
74 | 183 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-92-b1-0c-29-00-00-82 | 1 | 1.357 | 8228.36 | 0.0016 | 1 | 2020-11-04 | nils.rueger@desy.de |  |  | Chiba University | 1
75 | 184 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-ef-61-15-0f-00-00-e0 | 1 | 1.396 | 8174.92 | -0.0047 | 1 | 2020-11-04 | nils.rueger@desy.de |  |  |  | 0
76 | 185 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-d0-7e-15-0f-00-00-3a | 1 | 1.368 | 8196.66 | -0.0025 | 1 | 2020-11-04 | nils.rueger@desy.de |  |  |  | 0
77 | 186 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-fa-6d-15-0f-00-00-71 | 1 | 1.337 | 8247.06 | 0.0039 | 1 | 2020-11-04 | nils.rueger@desy.de |  |  | Chiba University | 1
78 | 187 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-1c-2a-17-0f-00-00-55 | 1 | 1.297 | 8204.9 | -0.0015 | 1 | 2020-11-04 | nils.rueger@desy.de |  |  | Chiba University | 1
79 | 188 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-d5-ae-0c-29-00-00-61 | 1 | 1.284 | 8201.92 | -0.0016 | 1 | 2020-11-04 | nils.rueger@desy.de |  |  | Chiba University | 1
80 | 189 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-3c-bb-d3-0f-00-00-ae | 1 | 1.331 | 8208.4 | -0.0007 | 1 | 2020-11-04 | nils.rueger@desy.de |  |  | Chiba University | 1
81 | 190 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-91-cd-d3-0f-00-00-49 | 1 | 1.306 | 8209.86 | 0 | 1 | 2020-11-04 | nils.rueger@desy.de |  |  | Chiba University | 1
82 | 191 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-05-c2-d3-0f-00-00-4b | 1 | 1.303 | 8200.67 | -0.0017 | 1 | 2020-11-04 | nils.rueger@desy.de |  |  | Chiba University | 1
83 | 192 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-1e-3d-17-0f-00-00-16 | 1 | 1.274 | 8208.7 | -0.0007 | 1 | 2020-11-04 | nils.rueger@desy.de |  |  | Chiba University | 1
84 | 193 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-99-24-17-0f-00-00-f6 | 1 | 1.285 | 8221.44 | 0.0007 | 1 | 2020-11-04 | nils.rueger@desy.de |  |  | Chiba University | 1
85 | 194 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-4c-d3-17-0f-00-00-2e | 1 | 1.328 | 8206.32 | -0.001 | 1 | 2020-11-04 | nils.rueger@desy.de |  |  | Chiba University | 1
86 | 195 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-02-11-17-0f-00-00-e9 | 1 | 1.343 | 8209.4 | -0.0007 | 1 | 2020-11-04 | nils.rueger@desy.de |  |  | Chiba University | 1
87 | 196 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-8e-d9-b8-09-00-00-80 | 1 | 1.312 | 8187.61 | -0.0022 | 1 | 2020-11-04 | nils.rueger@desy.de |  |  | Chiba University | 1
88 | 197 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-32-11-17-0f-00-00-04 | 1 | 1.355 | 8180.81 | -0.0044 | 1 | 2020-11-04 | nils.rueger@desy.de |  |  | Chiba University | 1
89 | 198 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-bf-a4-18-0f-00-00-a3 | 1 | 1.463 | 8191.11 | -0.0028 | 1 | 2020-11-04 | nils.rueger@desy.de |  |  | Chiba University | 1
90 | 199 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-32-ab-18-0f-00-00-6c | 1 | 1.288 | 8216.27 | -0.0001 | 1 | 2020-11-04 | nils.rueger@desy.de |  |  | Chiba University | 1
91 | 200 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-a8-39-17-0f-00-00-bc | 1 | 1.32 | 8215.99 | 0.0004 | 1 | 2020-11-04 | nils.rueger@desy.de |  |  | Chiba University | 1
92 | 201 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-48-de-17-0f-00-00-1e | 1 | 1.349 | 8185.07 | -0.0039 | 1 | 2020-11-04 | nils.rueger@desy.de |  |  | Chiba University | 1
93 | 202 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-c3-df-17-0f-00-00-c1 | 1 | 1.474 | 8201.81 | -0.0014 | 1 | 2020-11-04 | nils.rueger@desy.de |  |  | Chiba University | 1
94 | 203 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-bc-df-17-0f-00-00-7d | 1 | 1.415 | 8182.84 | -0.0039 | 1 | 2020-11-04 | nils.rueger@desy.de |  |  | Chiba University | 1
95 | 204 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-c0-23-17-0f-00-00-1f | 1 | 1.382 | 8214.95 | 0 | 1 | 2020-11-04 | nils.rueger@desy.de |  |  | Chiba University | 1
96 | 205 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-0d-3c-17-0f-00-00-d9 | 1 | 1.306 | 8211.42 | -0.0007 | 1 | 2020-11-04 | nils.rueger@desy.de |  |  | Chiba University | 1
97 | 206 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-bf-11-17-0f-00-00-a4 | 1 | 1.389 | 8219.74 | 0.001 | 1 | 2020-11-04 | nils.rueger@desy.de |  |  | Chiba University | 1
98 | 207 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-41-b8-18-0f-00-00-9f | 1 | 1.379 | 8208.96 | -0.0009 | 1 | 2020-11-04 | nils.rueger@desy.de |  |  | Chiba University | 1
99 | 208 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-25-60-17-0f-00-00-7a | 1 | 1.362 | 8183.29 | -0.0039 | 1 | 2020-11-04 | nils.rueger@desy.de |  |  | Chiba University | 1
100 | 209 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-9f-d9-b8-09-00-00-ec | 1 | 1.274 | 8208.8 | -0.0009 | 1 | 2020-11-04 | nils.rueger@desy.de |  |  | Chiba University | 1
101 | 210 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-45-d9-b8-09-00-00-e7 | 1 | 1.284 | 8208.28 | -0.0007 | 1 | 2020-11-04 | nils.rueger@desy.de |  |  | Chiba University | 1
102 | 211 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-6a-d9-b8-09-00-00-75 | 1 | 1.34 | 8196.92 | -0.0022 | 1 | 2020-11-04 | nils.rueger@desy.de |  |  | Chiba University | 1
103 | 212 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-a0-d9-b8-09-00-00-25 | 1 | 1.361 | 8199.41 | -0.0022 | 1 | 2020-11-04 | nils.rueger@desy.de |  |  | Chiba University | 1
104 | 213 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-1b-d9-b8-09-00-00-da | 1 | 1.403 | 8180.85 | -0.0036 | 1 | 2020-11-04 | nils.rueger@desy.de |  |  | Chiba University | 1
105 | 214 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-3e-15-17-0f-00-00-66 | 1 | 1.453 | 8195.2 | 0.0005 | 1 | 2020-11-04 | nils.rueger@desy.de / mikhail.vasilev@desy.de |  |  | Chiba University | 1
106 | 215 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-31-2a-17-0f-00-00-a9 | 1 | 1.354 | 8203.56 | -0.0016 | 1 | 2020-11-04 | nils.rueger@desy.de / mikhail.vasilev@desy.de |  |  | Chiba University | 1
107 | 216 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-2b-3e-17-0f-00-00-5e | 1 | 1.411 | 8208.13 | -0.0009 | 1 | 2020-11-04 | nils.rueger@desy.de / mikhail.vasilev@desy.de |  |  | Chiba University | 1
108 | 217 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-7e-1a-17-0f-00-00-7c | 1 | 1.307 | 8225.43 | 0.0012 | 1 | 2020-11-04 | nils.rueger@desy.de / mikhail.vasilev@desy.de |  |  | Chiba University | 1
109 | 218 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-51-3d-17-0f-00-00-47 | 1 | 1.323 | 8201.44 | -0.0017 | 1 | 2020-11-04 | nils.rueger@desy.de / mikhail.vasilev@desy.de |  |  | Chiba University | 1
110 | 219 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-6b-d9-b8-09-00-00-42 | 1 | 1.267 | 8197.29 | -0.0021 | 1 | 2020-11-04 | nils.rueger@desy.de / mikhail.vasilev@desy.de |  |  | Chiba University | 1
111 | 220 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-5c-d9-b8-09-00-00-2a | 1 | 1.253 | 8180.8 | -0.0041 | 1 | 2020-11-05 | nils.rueger@desy.de |  |  | Chiba University | 1
112 | 221 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-56-27-17-0f-00-00-03 | 1 | 1.323 | 8167.02 | -0.0057 | 1 | 2020-11-05 | nils.rueger@desy.de |  |  | Chiba University | 1
113 | 222 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-36-d9-b8-09-00-00-26 | 1 | 1.256 | 8187.06 | -0.0033 | 1 | 2020-11-05 | nils.rueger@desy.de |  |  | Chiba University | 1
114 | 223 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-1c-d9-b8-09-00-00-5f | 1 | 1.336 | 8181.97 | -0.0041 | 1 | 2020-11-05 | nils.rueger@desy.de |  |  | Chiba University | 1
115 | 224 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-fa-6c-17-0f-00-00-bb | 1 | 1.372 | 8211.09 | -0.0007 | 1 | 2020-11-05 | nils.rueger@desy.de |  |  | Chiba University | 1
116 | 225 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-a3-34-17-0f-00-00-a8 | 1 | 1.432 | 8195.47 | -0.0026 | 1 | 2020-11-05 | nils.rueger@desy.de |  |  | Chiba University | 1
117 | 226 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-81-19-17-0f-00-00-64 | 1 | 1.324 | 8176.69 | -0.0048 | 1 | 2020-11-05 | nils.rueger@desy.de |  |  | Chiba University | 1
118 | 227 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-9b-a6-18-0f-00-00-4a | 1 | 1.31 | 8220.13 | 0.0005 | 1 | 2020-11-05 | nils.rueger@desy.de |  |  | Chiba University | 1
119 | 228 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-3e-d8-17-0f-00-00-a8 | 1 | 1.263 | 8198.14 | -0.002 | 1 | 2020-11-05 | nils.rueger@desy.de |  |  | Chiba University | 1
120 | 229 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-ba-b7-18-0f-00-00-7a | 1 | 1.242 | 8189.2 | -0.0033 | 1 | 2020-11-05 | nils.rueger@desy.de |  |  | Chiba University | 1
121 | 230 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-cd-db-17-0f-00-00-cd | 1 | 1.369 | 8194.2 | -0.0027 | 1 | 2020-11-05 | nils.rueger@desy.de |  |  | Chiba University | 1
122 | 231 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-6a-66-17-0f-00-00-b7 | 1 | 1.296 | 8193.77 | -0.0026 | 1 | 2020-11-05 | nils.rueger@desy.de |  |  | Chiba University | 1
123 | 232 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-5e-ba-17-0f-00-00-f9 | 1 | 1.247 | 8201.16 | -0.0018 | 1 | 2020-11-05 | nils.rueger@desy.de |  |  | Chiba University | 1
124 | 233 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-3d-0e-17-0f-00-00-33 | 1 | 1.323 | 8203.36 | -0.0017 | 1 | 2020-11-05 | nils.rueger@desy.de |  |  | Chiba University | 1
125 | 234 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-57-2e-de-0e-00-00-c6 | 1 | 1.33 | 8208.04 | 0.0022 | 1 | 2020-11-06 | nils.rueger@desy.de |  |  | Chiba University | 1
126 | 235 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-ec-19-de-0e-00-00-ec | 1 | 1.293 | 8207.06 | -0.0009 | 1 | 2020-11-06 | nils.rueger@desy.de |  |  | Chiba University | 1
127 | 236 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-d4-32-de-0e-00-00-28 | 1 | 1.4 | 8209.14 | -0.001 | 1 | 2020-11-06 | nils.rueger@desy.de |  |  | Chiba University | 1
128 | 237 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-c1-c9-d3-0f-00-00-78 | 1 | 1.346 | 8205.68 | -0.0012 | 1 | 2020-11-06 | nils.rueger@desy.de |  |  | Chiba University | 1
129 | 238 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-9b-34-de-0e-00-00-e5 | 1 | 1.273 | 8198.71 | -0.0024 | 1 | 2020-11-06 | nils.rueger@desy.de |  |  | Chiba University | 1
130 | 239 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-50-14-de-0e-00-00-7a | 1 | 1.335 | 8186.82 | -0.0034 | 1 | 2020-11-06 | nils.rueger@desy.de |  |  | Chiba University | 1
131 | 240 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-95-c9-d3-0f-00-00-8a | 1 | 1.32 | 8205.62 | -0.0014 | 1 | 2020-11-06 | nils.rueger@desy.de |  |  | Chiba University | 1
132 | 241 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-2f-bb-d3-0f-00-00-ac | 1 | 1.365 | 8184.9 | -0.0036 | 1 | 2020-11-06 | nils.rueger@desy.de |  |  | Chiba University | 1
133 | 242 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-bd-a8-18-0f-00-00-ec | 1 | 1.296 | 8205.33 | -0.0014 | 1 | 2020-11-06 | nils.rueger@desy.de |  |  | Chiba University | 1
134 | 243 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-6f-c9-d3-0f-00-00-37 | 1 | 1.371 | 8221.99 | 0.0013 | 1 | 2020-11-06 | nils.rueger@desy.de |  |  | Chiba University | 1
135 | 244 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-8a-67-15-0f-00-00-54 | 1 | 1.407 | 8210.82 | -0.0006 | 1 | 2020-11-06 | nils.rueger@desy.de |  |  | Chiba University | 1
136 | 245 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-b5-33-de-0e-00-00-11 | 1 | 1.332 | 8195.17 | -0.0021 | 1 | 2020-11-06 | nils.rueger@desy.de |  |  | Chiba University | 1
137 | 246 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-77-2c-de-0e-00-00-f3 | 1 | 1.319 | 8224.31 | 0.0013 | 1 | 2020-11-06 | nils.rueger@desy.de |  |  | Chiba University | 1
138 | 247 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-aa-c2-d3-0f-00-00-33 | 1 | 1.291 | 8186.27 | -0.0035 | 1 | 2020-11-06 | nils.rueger@desy.de |  |  | Chiba University | 1
139 | 248 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-5c-e6-d3-0f-00-00-14 | 1 | 1.358 | 8176.82 | -0.0046 | 1 | 2020-11-06 | nils.rueger@desy.de |  |  | Chiba University | 1
140 | 249 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-16-15-de-0e-00-00-70 | 1 | 1.329 | 8198.57 | -0.0022 | 1 | 2020-11-06 | nils.rueger@desy.de |  |  | Chiba University | 1
141 | 250 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-cd-cb-17-0f-00-00-b1 | 1 | 1.316 | 8202.42 | -0.0018 | 1 | 2020-11-06 | nils.rueger@desy.de |  |  | Chiba University | 1
142 | 251 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-a9-72-17-0f-00-00-12 | 1 | 1.321 | 8219.48 | 0.0004 | 1 | 2020-11-06 | nils.rueger@desy.de |  |  | Chiba University | 1
143 | 252 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-ea-b7-18-0f-00-00-54 | 1 | 1.335 | 8225.23 | 0.0015 | 1 | 2020-11-06 | nils.rueger@desy.de |  |  | Chiba University | 1
144 | 253 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-5f-b7-18-0f-00-00-b8 | 1 | 1.264 | 8194.01 | -0.0027 | 1 | 2020-11-06 | nils.rueger@desy.de |  |  | Chiba University | 1
145 | 254 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-1e-10-de-0e-00-00-03 | 1 | 1.361 | 8168.65 | -0.0056 | 1 | 2020-11-06 | nils.rueger@desy.de |  |  | Chiba University | 1
146 | 255 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-ba-3d-17-0f-00-00-96 | 1 | 1.341 | 8211.75 | -0.0003 | 1 | 2020-11-06 | nils.rueger@desy.de |  |  | Chiba University | 1
147 | 256 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-ec-84-18-0f-00-00-2c | 1 | 1.304 | 8215.03 | 0.0002 | 1 | 2020-11-06 | nils.rueger@desy.de |  |  | Chiba University | 1
148 | 257 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-f9-c1-d3-0f-00-00-0a | 1 | 1.458 | 8188.19 | -0.0034 | 1 | 2020-11-06 | nils.rueger@desy.de |  |  | Chiba University | 1
149 | 258 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-68-c9-d3-0f-00-00-b2 | 1 | 1.365 | 8180.89 | -0.0041 | 1 | 2020-11-06 | nils.rueger@desy.de |  |  | Chiba University | 1
150 | 259 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-5e-ae-0c-29-00-00-73 | 1 | 1.349 | 8206.82 | -0.0009 | 1 | 2020-11-06 | nils.rueger@desy.de |  |  | Chiba University | 1
151 | 260 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-c6-5a-15-0f-00-00-34 | 1 | 1.31 | 8164.12 | -0.0061 | 1 | 2020-11-06 | nils.rueger@desy.de |  |  | Chiba University | 1
152 | 261 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-77-e6-d3-0f-00-00-5a | 1 | 1.259 | 8196.51 | -0.0025 | 1 | 2020-11-06 | nils.rueger@desy.de |  |  | Chiba University | 1
153 | 262 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-eb-de-d3-0f-00-00-2c | 1 | 1.296 | 8214.61 | 0 | 1 | 2020-11-06 | nils.rueger@desy.de |  |  | Chiba University | 1
154 | 263 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-20-0a-17-0f-00-00-3d | 1 | 1.33 | 8198.63 | 0.0029 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  | Chiba University | 1
155 | 264 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-08-7a-15-0f-00-00-40 | 1 | 1.329 | 8187.62 | -0.0032 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  | Chiba University | 1
156 | 265 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-8f-b0-0c-29-00-00-5e | 1 | 1.449 | 8183.17 | -0.0041 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  | Chiba University | 1
157 | 266 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-7f-8a-15-0f-00-00-fb | 1 | 1.214 | 8212.72 | -0.0005 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  | Chiba University | 1
158 | 267 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-81-b1-0c-29-00-00-80 | 1 | 1.399 | 8182.4 | -0.0041 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  | Chiba University | 1
159 | 268 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-31-c9-d3-0f-00-00-0a | 1 | 1.336 | 8191.39 | -0.0031 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  | Chiba University | 1
160 | 269 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-8e-e6-d3-0f-00-00-be | 1 | 1.268 | 8198.6 | -0.002 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  | Chiba University | 1
161 | 270 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-c4-ae-18-0f-00-00-7e | 1 | 1.259 | 8206.34 | -0.0004 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  | Chiba University | 1
162 | 271 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-83-bf-d3-0f-00-00-92 | 1 | 1.289 | 8209.5 | -0.0006 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  | Chiba University | 1
163 | 272 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-45-1b-17-0f-00-00-a4 | 1 | 1.315 | 8192.24 | -0.0028 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  | Chiba University | 1
164 | 273 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-16-c9-d3-0f-00-00-39 | 1 | 1.3 | 8206.67 | 0.0019 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  | Chiba University | 1
165 | 274 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-fd-11-17-0f-00-00-bf | 1 | 1.519 | 8195.99 | -0.0026 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  | Chiba University | 1
166 | 275 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-3e-bb-d3-0f-00-00-c0 | 1 | 1.305 | 8194.8 | -0.0027 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  | Chiba University | 1
167 | 276 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-da-78-15-0f-00-00-69 | 1 | 1.333 | 8187.87 | -0.0026 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  | Chiba University | 1
168 | 277 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-3d-8e-15-0f-00-00-ff | 1 | 1.364 | 8217.86 | 0.001 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  | Chiba University | 1
169 | 278 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-e4-89-15-0f-00-00-fc | 1 | 1.318 | 8202.26 | -0.0016 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  | Chiba University | 1
170 | 279 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-d5-8d-15-0f-00-00-39 | 1 | 1.305 | 8172.73 | -0.0052 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  | Chiba University | 1
171 | 280 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-ea-7a-15-0f-00-00-07 | 1 | 1.353 | 8212.08 | -0.0002 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  | Chiba University | 1
172 | 281 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-16-6d-15-0f-00-00-25 | 1 | 1.381 | 8206.95 | -0.0011 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  | Chiba University | 1
173 | 282 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-8a-71-17-0f-00-00-b3 | 1 | 1.271 | 8211.35 | -0.0003 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  | Chiba University | 1
174 | 283 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | [5 empty] | 1 | 2020-11-09 | nils.rueger@desy.de | stuck opening serial |  |  | 0
175 | 284 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-04-69-17-0f-00-00-08 | 1 | 1.421 | 8154.31 | -0.0075 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  | Chiba University | 1
176 | 285 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-5e-13-17-0f-00-00-39 | 1 | 1.377 | 8188.38 | -0.0033 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  | Chiba University | 1
177 | 286 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-ae-b0-0c-29-00-00-df | 1 | 1.312 | 8223.87 | 0.0009 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  | Chiba University | 1
178 | 287 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-d2-78-15-0f-00-00-c8 | 1 | 1.378 | 8179.3 | -0.0003 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  | Chiba University | 1
179 | 288 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-3d-2f-17-0f-00-00-06 | 1 | 1.318 | 8232.04 | 0.007 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  | Chiba University | 1
180 | 289 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-17-af-0c-29-00-00-5d | 1 | 1.278 | 8202.05 | -0.0017 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  |  | 1
181 | 290 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-e4-0e-17-0f-00-00-61 | 1 | 1.386 | 8212.46 | -0.0002 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  |  | 0
182 | 291 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-fc-de-d3-0f-00-00-f2 | 1 | 1.287 | 8202.22 | 0.0005 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  | Chiba University | 1
183 | 292 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-f2-de-d3-0f-00-00-e1 | 1 | 1.308 | 8200.29 | 0.0004 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  |  | 0
184 | 293 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-c9-db-d3-0f-00-00-26 | 1 | 1.37 | 8191.48 | -0.0029 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  |  | 0
185 | 294 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-23-8e-18-0f-00-00-2a | 1 | 1.446 | 8195.49 | -0.0026 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  |  | 0
186 | 295 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-13-e6-d3-0f-00-00-45 | 1 | 1.424 | 8217.45 | 0.0004 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  |  | 0
187 | 296 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-fe-be-d3-0f-00-00-8d | 1 | 1.324 | 8200.18 | -0.0019 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  |  | 0
188 | 297 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-38-c9-d3-0f-00-00-9c | 1 | 1.42 | 8216.16 | 0 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  |  | 0
189 | 298 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-8f-b1-0c-29-00-00-93 | 1 | 1.275 | 8175.24 | -0.0049 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  |  | 0
190 | 299 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-7e-d2-d3-0f-00-00-57 | 1 | 1.333 | 8219.48 | 0.0005 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  |  | 0
191 | 300 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-f6-ae-0c-29-00-00-8e | 1 | 1.34 | 8193.8 | -0.0004 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  |  | 0
192 | 301 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-0d-df-d3-0f-00-00-7a | 1 | 1.367 | 8214.21 | -0.0001 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  |  | 0
193 | 302 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-d0-ae-0c-29-00-00-8a | 1 | 1.197 | 8209.5 | -0.0007 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  |  | 0
194 | 303 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-51-ae-0c-29-00-00-57 | 1 | 1.342 | 8185.04 | -0.0035 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  |  | 0
195 | 304 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-e3-ae-0c-29-00-00-3e | 1 | 1.284 | 8197.76 | -0.0021 | 1 | 2020-11-09 | nils.rueger@desy.de |  |  |  | 0
196 | 305 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-44-bf-d3-0f-00-00-88 | 1 | 1.349 | 8209.34 | 0.006 | 1 | 2020-11-10 | nils.rueger@desy.de |  |  | Chiba University | 1
197 | 306 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-5e-27-17-0f-00-00-a2 | 1 | 1.251 | 8195.27 | -0.0024 | 1 | 2020-11-10 | nils.rueger@desy.de |  |  | Chiba University | 1
198 | 307 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-15-b6-18-0f-00-00-cf | 1 | 1.32 | 8196.8 | -0.0025 | 1 | 2020-11-10 | nils.rueger@desy.de |  |  | Chiba University | 1
199 | 308 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-ea-90-18-0f-00-00-fd | 1 | 1.293 | 8189.69 | -0.0029 | 1 | 2020-11-10 | nils.rueger@desy.de |  |  | Chiba University | 1
200 | 309 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-46-c9-d3-0f-00-00-17 | 1 | 1.29 | 8215 | 0 | 1 | 2020-11-10 | nils.rueger@desy.de |  |  | Chiba University | 1
201 | 310 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-27-c9-d3-0f-00-00-e3 | 1 | 1.327 | 8208.4 | -0.0011 | 1 | 2020-11-10 | nils.rueger@desy.de |  |  | Chiba University | 1
202 | 311 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-ab-24-17-0f-00-00-75 | 1 | 1.316 | 8203.37 | -0.0015 | 1 | 2020-11-10 | nils.rueger@desy.de |  |  | Chiba University | 1
203 | 312 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-af-c4-d3-0f-00-00-44 | 1 | 1.29 | 8194.9 | -0.0011 | 1 | 2020-11-10 | nils.rueger@desy.de |  |  | Chiba University | 1
204 | 313 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-c4-c4-d3-0f-00-00-7f | 1 | 1.294 | 8211.29 | -0.0007 | 1 | 2020-11-10 | nils.rueger@desy.de |  |  | Chiba University | 1
205 | 314 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-6f-c4-d3-0f-00-00-db | 1 | 1.304 | 8232.77 | 0.0021 | 1 | 2020-11-10 | nils.rueger@desy.de |  |  | Chiba University | 1
206 | 315 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-21-bf-d3-0f-00-00-a0 | 1 | 1.258 | 8204.61 | -0.0011 | 1 | 2020-11-10 | nils.rueger@desy.de |  |  | Chiba University | 1
207 | 316 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-3a-c9-d3-0f-00-00-f2 | 1 | 1.293 | 8183.24 | -0.0041 | 1 | 2020-11-10 | nils.rueger@desy.de |  |  | Chiba University | 1
208 | 317 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-05-c9-d3-0f-00-00-3b | 1 | 1.392 | 8202.57 | -0.0014 | 1 | 2020-11-10 | nils.rueger@desy.de |  |  | Chiba University | 1
209 | 318 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-4f-ee-02-0f-00-00-a6 | 1 | 1.358 | 8201.63 | 0.0046 | 1 | 2020-11-10 | nils.rueger@desy.de |  |  | Chiba University | 1
210 | 319 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-9a-e7-d3-0f-00-00-f4 | 1 | 1.349 | 8179 | -0.0044 | 1 | 2020-11-10 | nils.rueger@desy.de |  |  | Chiba University | 1
211 | 320 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-9f-ab-17-0f-00-00-e0 | 1 | 1.344 | 8215.19 | -0.0002 | 1 | 2020-11-10 | nils.rueger@desy.de |  |  | Chiba University | 1
212 | 321 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-e8-ed-02-0f-00-00-31 | 1 | 1.319 | 8208.93 | -0.0009 | 1 | 2020-11-10 | nils.rueger@desy.de |  |  | Chiba University | 1
213 | 322 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-fe-0a-17-0f-00-00-ea | 1 | 1.291 | 8197.58 | -0.0024 | 1 | 2020-11-10 | nils.rueger@desy.de |  |  | Chiba University | 1
214 | 323 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-22-bf-d3-0f-00-00-f9 | 1 | 1.251 | 8210.1 | -0.0004 | 1 | 2020-11-10 | nils.rueger@desy.de |  |  | Chiba University | 1
215 | 324 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-dc-16-17-0f-00-00-6f | 1 | 1.374 | 8196.91 | -0.0022 | 1 | 2020-11-10 | nils.rueger@desy.de |  |  | Chiba University | 1
216 | 325 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-61-6e-17-0f-00-00-71 | 1 | 1.507 | 8191.78 | -0.0029 | 1 | 2020-11-10 | nils.rueger@desy.de |  |  | Chiba University | 1
217 | 326 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-ec-9a-18-0f-00-00-f2 | 1 | 1.343 | 8203.55 | -0.0014 | 1 | 2020-11-10 | nils.rueger@desy.de |  |  | Chiba University | 1
218 | 327 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-7b-c5-d3-0f-00-00-91 | 1 | 1.278 | 8213.59 | -0.0002 | 1 | 2020-11-10 | nils.rueger@desy.de |  |  | Chiba University | 1
219 | 328 | rev_1 | icm_in_ice_rev21_0_5.mcs | ICM_3 | 2d-94-13-17-0f-00-00-69 | 1 | 1.319 | 8187.71 | -0.0036 | 1 | 2020-11-10 | nils.rueger@desy.de |  |  | Chiba University | 1

## error
check ID | Error | Date | QR code Check | QR_2 |  |  | 100
2d3098180f0000c8 | NO TERM. SIGNAL-PATH ¦¦ YES ¦¦ ERROR! | 2020-11-03 | 214 | 2dß3eß15ß17ß0fß00ß00ß66 | 2d-3e-15-17-0f-00-00-66 | FALSE
2d10bbd30f000065 | NO TERM. SIGNAL-PATH ¦¦ YES ¦¦ ERROR! | 2020-11-03 | 215 | 2dß31ß2aß17ß0fß00ß00ßa9 | 2d-31-2a-17-0f-00-00-a9 | FALSE
2dd07e150f00003a | NO TERM. SIGNAL-PATH ¦¦ YES ¦¦ ERROR! | 2020-11-03 | 216 | 2dß2bß3eß17ß0fß00ß00ß5e | 2d-2b-3e-17-0f-00-00-5e | FALSE
|  |  | 217 | 2dß7eß1aß17ß0fß00ß00ß7c | 2d-7e-1a-17-0f-00-00-7c | FALSE
2d92c9d30f00000f | I/O-LOOPING ¦¦ YES ¦¦ ERROR! | 2020-11-03 | 218 | 2dß51ß3dß17ß0fß00ß00ß47 | 2d-51-3d-17-0f-00-00-47 | FALSE
| TERM. BY FPGA ¦¦ YES ¦¦ ERROR! |  | 219 | 2dß6bßd9ßb8ß09ß00ß00ß42 | 2d-6b-d9-b8-09-00-00-42 | FALSE
| TERM. BY WP-ADDR ¦¦ NO ¦¦ ###### |  | 220 | 2dß5cßd9ßb8ß09ß00ß00ß2a | 2d-5c-d9-b8-09-00-00-2a | FALSE
| NOISE ¦¦ NO ¦¦ ###### |  | 221 | 2dß56ß27ß17ß0fß00ß00ß03 | 2d-56-27-17-0f-00-00-03 | FALSE
2d8c0c170f000080 | NO TERM. SIGNAL-PATH ¦¦ YES ¦¦ ERROR! | 2020-11-03 | 222 | 2dß36ßd9ßb8ß09ß00ß00ß26 | 2d-36-d9-b8-09-00-00-26 | FALSE
| TERM. BY FPGA ¦¦ NO ¦¦ ###### |  | 223 | 2dß1cßd9ßb8ß09ß00ß00ß5f | 2d-1c-d9-b8-09-00-00-5f | FALSE
| TERM. BY WP-ADDR ¦¦ NO ¦¦ ###### |  | 224 | 2dßfaß6cß17ß0fß00ß00ßbb | 2d-fa-6c-17-0f-00-00-bb | FALSE
| EXT. TERM ¦¦ NO ¦¦ ###### |  | 225 | 2dßa3ß34ß17ß0fß00ß00ßa8 | 2d-a3-34-17-0f-00-00-a8 | FALSE
| NOISE ¦¦ NO ¦¦ ###### |  | 226 | 2dß81ß19ß17ß0fß00ß00ß64 | 2d-81-19-17-0f-00-00-64 | FALSE
2dd5ae0c29000061 | NO TERM. SIGNAL-PATH ¦¦ YES ¦¦ ERROR! | 2020-11-03 | 227 | 2dß9bßa6ß18ß0fß00ß00ß4a | 2d-9b-a6-18-0f-00-00-4a
| TERM. BY FPGA ¦¦ NO ¦¦ ###### |  | 228 | 2dß3eßd8ß17ß0fß00ß00ßa8 | 2d-3e-d8-17-0f-00-00-a8
| TERM. BY WP-ADDR ¦¦ NO ¦¦ ###### |  | 229 | 2dßbaßb7ß18ß0fß00ß00ß7a | 2d-ba-b7-18-0f-00-00-7a
| EXT. TERM ¦¦ NO ¦¦ ###### |  | 230 | 2dßcdßdbß17ß0fß00ß00ßcd | 2d-cd-db-17-0f-00-00-cd
| EXT. TERM ¦¦ NO ¦¦ ###### |  | 231 | 2dß6aß66ß17ß0fß00ß00ßb7 | 2d-6a-66-17-0f-00-00-b7
2daab00c29000003 | NO TERM. SIGNAL-PATH ¦¦ YES ¦¦ ERROR! | 2020-11-09 | 232 | 2dß5eßbaß17ß0fß00ß00ßf9 | 2d-5e-ba-17-0f-00-00-f9
| TERM. BY FPGA ¦¦ NO ¦¦ ###### |  | 233 | 2dß3dß0eß17ß0fß00ß00ß33 | 2d-3d-0e-17-0f-00-00-33
| TERM. BY WP-ADDR ¦¦ NO ¦¦ ###### |  | 234 | 2dß57ß2eßdeß0eß00ß00ßc6 | 2d-57-2e-de-0e-00-00-c6
| EXT. TERM ¦¦ NO ¦¦ ###### |  | 235 | 2dßecß19ßdeß0eß00ß00ßec | 2d-ec-19-de-0e-00-00-ec
| EXT. TERM ¦¦ NO ¦¦ ###### |  | 236 | 2dßd4ß32ßdeß0eß00ß00ß28 | 2d-d4-32-de-0e-00-00-28
2d-9d-b0-0c-29-00-00-6b | UART-FPGA ¦¦ YES ¦¦ ERROR! | 2020-11-09 | 237 | 2dßc1ßc9ßd3ß0fß00ß00ß78 | 2d-c1-c9-d3-0f-00-00-78
| ID-CHIP ¦¦ NO ¦¦ ###### |  | 238 | 2dß9bß34ßdeß0eß00ß00ße5 | 2d-9b-34-de-0e-00-00-e5
| UART-EFM32 ¦¦ NO ¦¦ ###### |  | 239 | 2dß50ß14ßdeß0eß00ß00ß7a | 2d-50-14-de-0e-00-00-7a
| PWR ¦¦ NO ¦¦ ###### |  | 240 | 2dß95ßc9ßd3ß0fß00ß00ß8a | 2d-95-c9-d3-0f-00-00-8a
| I/O-LOOPING ¦¦ NO ¦¦ ###### |  | 241 | 2dß2fßbbßd3ß0fß00ß00ßac | 2d-2f-bb-d3-0f-00-00-ac
| ADC-SPI ¦¦ NO ¦¦ ###### |  | 242 | 2dßbdßa8ß18ß0fß00ß00ßec | 2d-bd-a8-18-0f-00-00-ec
| ADC-PRLL_ITF ¦¦ NO ¦¦ ###### |  | 243 | 2dß6fßc9ßd3ß0fß00ß00ß37 | 2d-6f-c9-d3-0f-00-00-37
| NO TERM. SIGNAL-PATH ¦¦ NO ¦¦ ###### |  | 244 | 2dß8aß67ß15ß0fß00ß00ß54 | 2d-8a-67-15-0f-00-00-54
| TERM. BY FPGA ¦¦ NO ¦¦ ###### |  | 245 | 2dßb5ß33ßdeß0eß00ß00ß11 | 2d-b5-33-de-0e-00-00-11
| TERM. BY WP-ADDR ¦¦ NO ¦¦ ###### |  | 246 | 2dß77ß2cßdeß0eß00ß00ßf3 | 2d-77-2c-de-0e-00-00-f3
| EXT. TERM ¦¦ NO ¦¦ ###### |  | 247 | 2dßaaßc2ßd3ß0fß00ß00ß33 | 2d-aa-c2-d3-0f-00-00-33
| NOISE ¦¦ NO ¦¦ ###### |  | 248 | 2dß5cße6ßd3ß0fß00ß00ß14 | 2d-5c-e6-d3-0f-00-00-14
|  |  | 249 | 2dß16ß15ßdeß0eß00ß00ß70 | 2d-16-15-de-0e-00-00-70
|  |  | 250 | 2dßcdßcbß17ß0fß00ß00ßb1 | 2d-cd-cb-17-0f-00-00-b1
|  |  | 251 | 2dßa9ß72ß17ß0fß00ß00ß12 | 2d-a9-72-17-0f-00-00-12
|  |  | 252 | 2dßeaßb7ß18ß0fß00ß00ß54 | 2d-ea-b7-18-0f-00-00-54
|  |  | 253 | 2dß5fßb7ß18ß0fß00ß00ßb8 | 2d-5f-b7-18-0f-00-00-b8
|  |  | 254 | 2dß1eß10ßdeß0eß00ß00ß03 | 2d-1e-10-de-0e-00-00-03
|  |  | 255 | 2dßbaß3dß17ß0fß00ß00ß96 | 2d-ba-3d-17-0f-00-00-96
|  |  | 256 | 2dßecß84ß18ß0fß00ß00ß2c | 2d-ec-84-18-0f-00-00-2c
|  |  | 257 | 2dßf9ßc1ßd3ß0fß00ß00ß0a | 2d-f9-c1-d3-0f-00-00-0a
|  |  | 258 | 2dß68ßc9ßd3ß0fß00ß00ßb2 | 2d-68-c9-d3-0f-00-00-b2
|  |  | 259 | 2dß5eßaeß0cß29ß00ß00ß73 | 2d-5e-ae-0c-29-00-00-73
|  |  | 260 | 2dßc6ß5aß15ß0fß00ß00ß34 | 2d-c6-5a-15-0f-00-00-34
|  |  | 261 | 2dß77ße6ßd3ß0fß00ß00ß5a | 2d-77-e6-d3-0f-00-00-5a
|  |  | 262 | 2dßebßdeßd3ß0fß00ß00ß2c | 2d-eb-de-d3-0f-00-00-2c
|  |  | 263 | 2dß20ß0aß17ß0fß00ß00ß3d | 2d-20-0a-17-0f-00-00-3d
|  |  | 264 | 2dß08ß7aß15ß0fß00ß00ß40 | 2d-08-7a-15-0f-00-00-40
|  |  | 265 | 2dß8fßb0ß0cß29ß00ß00ß5e | 2d-8f-b0-0c-29-00-00-5e
|  |  | 266 | 2dß7fß8aß15ß0fß00ß00ßfb | 2d-7f-8a-15-0f-00-00-fb
|  |  | 267 | 2dß81ßb1ß0cß29ß00ß00ß80 | 2d-81-b1-0c-29-00-00-80
|  |  | 268 | 2dß31ßc9ßd3ß0fß00ß00ß0a | 2d-31-c9-d3-0f-00-00-0a
|  |  | 269 | 2dß8eße6ßd3ß0fß00ß00ßbe | 2d-8e-e6-d3-0f-00-00-be
|  |  | 270 | 2dßc4ßaeß18ß0fß00ß00ß7e | 2d-c4-ae-18-0f-00-00-7e
|  |  | 271 | 2dß83ßbfßd3ß0fß00ß00ß92 | 2d-83-bf-d3-0f-00-00-92
|  |  | 272 | 2dß45ß1bß17ß0fß00ß00ßa4 | 2d-45-1b-17-0f-00-00-a4
|  |  | 273 | 2dß16ßc9ßd3ß0fß00ß00ß39 | 2d-16-c9-d3-0f-00-00-39
|  |  | 274 | 2dßfdß11ß17ß0fß00ß00ßbf | 2d-fd-11-17-0f-00-00-bf
|  |  | 275 | 2dß3eßbbßd3ß0fß00ß00ßc0 | 2d-3e-bb-d3-0f-00-00-c0
|  |  | 276 | 2dßdaß78ß15ß0fß00ß00ß69 | 2d-da-78-15-0f-00-00-69
|  |  | 277 | 2dß3dß8eß15ß0fß00ß00ßff | 2d-3d-8e-15-0f-00-00-ff
|  |  | 278 | 2dße4ß89ß15ß0fß00ß00ßfc | 2d-e4-89-15-0f-00-00-fc
|  |  | 279 | 2dßd5ß8dß15ß0fß00ß00ß39 | 2d-d5-8d-15-0f-00-00-39
|  |  | 280 | 2dßeaß7aß15ß0fß00ß00ß07 | 2d-ea-7a-15-0f-00-00-07
|  |  | 281 | 2dß16ß6dß15ß0fß00ß00ß25 | 2d-16-6d-15-0f-00-00-25
|  |  | 282 | 2dß8aß71ß17ß0fß00ß00ßb3 | 2d-8a-71-17-0f-00-00-b3
|  |  | 284 | 2dß04ß69ß17ß0fß00ß00ß08 | 2d-04-69-17-0f-00-00-08
|  |  | 285 | 2dß5eß13ß17ß0fß00ß00ß39 | 2d-5e-13-17-0f-00-00-39
|  |  | 286 | 2dßaeßb0ß0cß29ß00ß00ßdf | 2d-ae-b0-0c-29-00-00-df
|  |  | 287 | 2dßd2ß78ß15ß0fß00ß00ßc8 | 2d-d2-78-15-0f-00-00-c8
|  |  | 288 | 2dß3dß2fß17ß0fß00ß00ß06 | 2d-3d-2f-17-0f-00-00-06
|  |  | 289 | 2dß17ßafß0cß29ß00ß00ß5d | 2d-17-af-0c-29-00-00-5d
|  |  | 291 | 2dßfcßdeßd3ß0fß00ß00ßf2 | 2d-fc-de-d3-0f-00-00-f2
|  |  | 305 | 2dß44ßbfßd3ß0fß00ß00ß88 | 2d-44-bf-d3-0f-00-00-88
|  |  | 306 | 2dß5eß27ß17ß0fß00ß00ßa2 | 2d-5e-27-17-0f-00-00-a2
|  |  | 307 | 2dß15ßb6ß18ß0fß00ß00ßcf | 2d-15-b6-18-0f-00-00-cf
|  |  | 308 | 2dßeaß90ß18ß0fß00ß00ßfd | 2d-ea-90-18-0f-00-00-fd
|  |  | 309 | 2dß46ßc9ßd3ß0fß00ß00ß17 | 2d-46-c9-d3-0f-00-00-17
|  |  | 310 | 2dß27ßc9ßd3ß0fß00ß00ße3 | 2d-27-c9-d3-0f-00-00-e3
|  |  | 311 | 2dßabß24ß17ß0fß00ß00ß75 | 2d-ab-24-17-0f-00-00-75
|  |  | 312 | 2dßafßc4ßd3ß0fß00ß00ß44 | 2d-af-c4-d3-0f-00-00-44
|  |  | 313 | 2dßc4ßc4ßd3ß0fß00ß00ß7f | 2d-c4-c4-d3-0f-00-00-7f
|  |  | 314 | 2dß6fßc4ßd3ß0fß00ß00ßdb | 2d-6f-c4-d3-0f-00-00-db
|  |  | 315 | 2dß21ßbfßd3ß0fß00ß00ßa0 | 2d-21-bf-d3-0f-00-00-a0
|  |  | 316 | 2dß3aßc9ßd3ß0fß00ß00ßf2 | 2d-3a-c9-d3-0f-00-00-f2
|  |  | 317 | 2dß05ßc9ßd3ß0fß00ß00ß3b | 2d-05-c9-d3-0f-00-00-3b
|  |  | 318 | 2dß4fßeeß02ß0fß00ß00ßa6 | 2d-4f-ee-02-0f-00-00-a6
|  |  | 319 | 2dß9aße7ßd3ß0fß00ß00ßf4 | 2d-9a-e7-d3-0f-00-00-f4
|  |  | 320 | 2dß9fßabß17ß0fß00ß00ße0 | 2d-9f-ab-17-0f-00-00-e0
|  |  | 321 | 2dße8ßedß02ß0fß00ß00ß31 | 2d-e8-ed-02-0f-00-00-31
|  |  | 322 | 2dßfeß0aß17ß0fß00ß00ßea | 2d-fe-0a-17-0f-00-00-ea
|  |  | 323 | 2dß22ßbfßd3ß0fß00ß00ßf9 | 2d-22-bf-d3-0f-00-00-f9
|  |  | 324 | 2dßdcß16ß17ß0fß00ß00ß6f | 2d-dc-16-17-0f-00-00-6f
|  |  | 325 | 2dß61ß6eß17ß0fß00ß00ß71 | 2d-61-6e-17-0f-00-00-71
|  |  | 326 | 2dßecß9aß18ß0fß00ß00ßf2 | 2d-ec-9a-18-0f-00-00-f2
|  |  | 327 | 2dß7bßc5ßd3ß0fß00ß00ß91 | 2d-7b-c5-d3-0f-00-00-91
|  |  | 328 | 2dß94ß13ß17ß0fß00ß00ß69 | 2d-94-13-17-0f-00-00-69

## functions
current batch amount | not shipped | shipped
115 | 19 | 100
291
292
293