# Battery Box, External Cabling

## Battery Box to Slip Ring, 96VDC Cable

PT06E-14-5P-SR

PT06E-14-5S-SR

To Slip Ring

To Battery Box

GND_48

+48VDC

GND_48

-48VDC

Shield

Cable: Lapp 1032108, 2m